## Table 1
8/31/2025 Interconnection Queue for the Dominion Energy South Carolina Transmission System
The Queue Position ID is based upon the receipt date of a customer request. This queue position may be held for a customer until all of the necessary data have been provided. If the customer delays in providing the data, then the queue position may be assigned to the subsequent customer. Therefore, the Queue Position ID may change over time. | [7 empty] | After an Interconnection Agreement has been signed, the customer name will be posted. This Interconnection Queue reflects requests submitted within that last seven years. For inverter-based projects, the MW rating equals the sum of the max nameplate rating on the inverters. The queue for State Jurisdictional projects can be located at https://www.dominionenergy.com/south-carolina/save-energy/renewable-energy-developers.
Queue Position ID | Request # | Date of Completed Application and Deposit | Net Summer/ Winter (MW) | Location (County, State) | DESC Transmission Line or Substation | Requested In-Service Date | Revised Requested In-Service Date | Requested Interconnection Service | Type Generation/ Fuel Type | Fast Track Status | Feasibility Study Status | System Impact Study Status | Facilities Study Status | Project Status | Customer Name
41 | 20151028001 | 2015-11-18 | 113.4 | Orangeburg, SC | Cope - Orangeburg East 230 kV | 2019-06-01 | 2021-09-14 | Energy | Solar | NA | NA | Complete | Complete | Withdrawn | Southern Grove Solar
42 | 20171013002 | 2017-10-13 | 151.2 | Aiken, SC | Urquhart - SRS 230 kV | 2020-09-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
43 | 20171018008 | 2017-10-18 | 100 | Orangeburg, SC | Cope Substation 230 kV | 2019-12-15 | 2023-09-01 | Network/Energy | Solar | NA | Complete | Complete |  | Withdrawn
44 | 20171018010 | 2017-10-18 | 100 | Orangeburg, SC | Eastover - Orangeburg 115 kV | 2019-12-15 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
45 | 20171018005 | 2017-10-18 | 100 | Richland, SC | Columbia Industrial Park - Edenwood 115 kV | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
46 | 20171018006 | 2017-10-18 | 100 | Richland, SC | Columbia Industrial Park - Edenwood 230 kV | 2019-12-01 |  | Network/Energy | Solar | NA | NA | Complete |  | Withdrawn
47 | 20171018007 | 2017-10-18 | 100 | Richland, SC | Columbia Industrial Park - Hopkins 230 kV | 2019-12-01 |  | Network/Energy | Solar | NA | NA | Complete |  | Withdrawn
48 | 20171018001 | 2017-10-18 | 100 | Newberry, SC | Saluda Hydro - Bush River 115 kV #1 tie | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
49 | 20171018002 | 2017-10-18 | 100 | Fairfield, SC | Parr Steam - Denny Terrace 115 kV #1 | 2019-12-01 |  | Network/Energy | Solar | NA | Complete |  |  | Withdrawn
50 | 20171018003 | 2017-10-18 | 100 | Fairfield, SC | VCS2 - Denny Terrace 230 kV | 2019-12-01 |  | Network/Energy | Solar | NA | Complete |  |  | Withdrawn
51 | 20171018004 | 2017-10-18 | 100 | Fairfield, SC | TBD | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
52 | 20171018011 | 2017-10-18 | 100 | Beaufort | Burton - Yemassee 230 kV | 2019-12-15 |  | Network/Energy | Solar | NA | Complete |  |  | Withdrawn
53 | 20171018009 | 2017-10-18 | 100 | Richland, SC | VCS2 - Denny Terrace 230 kV | 2019-12-15 |  | Network/Energy | Solar | NA | Complete |  |  | Withdrawn
54 | 20171027001 | 2018-10-27 | 80 | Allendale, SC | Canadys - Fairfax 115 kV | 2019-12-31 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
55 | 20171113001 | 2017-11-13 | 102.2 | Dorchester, SC | Pepperhill - Mateeba 230 kV Tie | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
56 | 20171113002 | 2017-11-13 | 102.2 | Charleston, SC | Church Creek - Ritter 230 kV | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
57 | 20171113003 | 2017-11-13 | 102.2 | Colleton, SC | Canadys - Faber Place 230 kV | 2019-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
58 | 20171215001 | 2017-12-15 | 87.5 | Charleston, SC | Church Creek - Ravenel (BEC) 115 kV | 2020-10-30 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
59 | 20180112001 | 2018-01-12 | 1200 | Anderson, SC | VCS2 Substation | 2021-06-01 |  | Network/Energy | Combined Cycle | NA |  |  |  | Withdrawn
60 | 20180209001 | 2018-02-09 | 113.4 | Barnwell, SC | Denmark - Toolebeck 115 kV | 2020-12-31 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
61 | 20180508001 | 2018-06-20 | 54 | Fairfield, SC | Parr - Winnsboro 115 kV #1 | 2019-12-30 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Withdrawn
62 | 20181030001 | 2018-11-05 | 160 | Charleston, SC | Church Creek - Ritter 230 kV | 2021-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
63 | 20181030002 | 2018-11-05 | 102.6 | Charleston, SC | Ritter - Ravenel 115 kV | 2021-12-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
64 | 20190729002 | 2019-07-29 | 199.99 | Colleton, SC | Cope - Canadys 230 kV | 2022-05-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
65 | 20191120001 | 2019-11-20 | 2 | Richland, SC | Lyles | 2020-11-01 |  | Energy | Batteries | Complete | NA | NA | Complete | Withdrawn
66 | 20191121001 | 2019-11-21 | 2 | Richland, SC | Killian Road | 2020-11-01 |  | Energy | Batteries | Complete | NA | NA | Complete | Withdrawn
67 | 20191204001 | 2019-12-04 | 10 | Charleston, SC | Hamlin | 2020-12-30 |  | Energy | Batteries | NA |  |  |  | Withdrawn
68 | 20191204002 | 2019-12-04 | 10 | Richland, SC | Killian Road | 2020-12-30 |  | Energy | Batteries | NA |  |  |  | Withdrawn
69 | 20191204003 | 2019-12-04 | 10 | Richland, SC | Lyles | 2020-12-30 |  | Energy | Batteries | NA |  |  |  | Withdrawn
70 | 20191213001 | 2019-12-13 | 2 | Hampton, SC | Estill Southside | 2020-11-01 |  | Energy | Batteries | Complete | NA | NA | Complete | Withdrawn
71 | 20200720001 | 2020-07-20 | 2 | Lexington, SC | Gaston | 2021-03-01 |  | Energy | Batteries | Withdrawn |  |  |  | Withdrawn
72 | 20200720002 | 2020-07-20 | 2 | Richland, SC | Sparkleberry | 2021-03-01 |  | Energy | Batteries | Withdrawn |  |  |  | Withdrawn
73 | 20200720003 | 2020-07-20 | 2 | Charleston, SC | Hamlin | 2021-03-01 |  | Energy | Batteries | Withdrawn |  |  |  | Withdrawn
74 | 20200728001 | 2020-07-28 | 360 | Jasper, SC | Yemassee | 2024-06-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn
75 | 20200824001 | 2020-08-24 | 86 | Bamberg, SC | Canadys - SRS 230 kV | 2023-06-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
76 | 20200910001 | 2020-09-10 | 870 | Berkeley, SC | Williams - DuPont 230 kV | 2026-06-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn
77 | 20200910002 | 2020-09-10 | 720 | Berkeley, SC | Williams - DuPont 230 kV | 2024-06-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn
78 | 20200921002 | 2020-09-21 | 10 | Hampton, SC | Estill Southside | 2021-12-01 |  | Energy | Batteries | NA |  |  |  | Withdrawn
79 | 20200921003 | 2020-09-21 | 10 | Richland, SC | Sparkleberry | 2021-12-01 |  | Energy | Batteries | NA |  |  |  | Withdrawn
80 | 20200921004 | 2020-09-21 | 10 | Lexington, SC | Gaston | 2021-12-01 |  | Energy | Batteries | NA |  |  |  | Withdrawn
81 | 20210310001 | 2021-03-10 | 100 | Orangeburg, SC | Cope - Orangeburg East 230 kV | 2026-09-30 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Trans Cluster | May Renewables LLC
82 | 20210311001 | 2021-03-11 | 115 | Calhoun, SC | Eastover - Orangeburg 115 kV | 2023-12-31 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Withdrawn
83 | 20210503001 | 2021-05-03 | 74.9 | Aiken, SC | Denmark - Toolebeck 115 kV | 2026-06-01 |  | Network/Energy | Solar | NA |  |  |  | Trans Cluster
84 | 20210901001 | 2021-09-01 | 600 | Richland, SC | Wateree - Hopkins 230 kV #2 | 2023-06-30 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Withdrawn
85 | 20211104001 | 2021-11-04 | 158 | Jasper, SC | Jasper 230 kV Substation | 2022-12-01 |  | Network/Energy | Combined Cycle | NA |  |  |  | Withdrawn | DESC - Generation
86 | 20211104002 | 2021-11-04 | 23 | Calhoun, SC | Columbia Energy Center 115 kV Substation | 2022-12-01 |  | Network/Energy | Combined Cycle | NA |  |  |  | Trans Cluster | DESC - Generation
87 | 20211117001 | 2021-11-17 | 50 | Calhoun, SC | Columbia Energy Center 230 kV Substation | 2022-12-01 |  | Network/Energy | Combined Cycle | NA |  |  |  | Trans Cluster | DESC - Generation
88 | 20211118001 | 2021-11-18 | 13.4 | Berkeley, SC | Bushy Park CT 115 kV Tap | 2024-08-16 |  | Network/Energy | Natural Gas | NA |  |  |  | Trans Cluster | DESC - Generation
Queue Position ID | Request # | Date of Completed Application and Deposit | Net Summer/ Winter (MW) | Location (County, State) | DESC Transmission Line or Substation | Requested In-Service Date | Revised Requested In-Service Date | Requested Interconnection Service | Type Generation/ Fuel Type | Fast Track Status | Feasibility Study Status | System Impact Study Status | Facilities Study Status | Project Status | Customer Name
89 | 20211118002 | 2021-11-18 | 57.8 | Fairfield, SC | Parr Steam Plant 115 kV Substation | 2025-03-10 |  | Network/Energy | Natural Gas | NA |  |  |  | Trans Cluster | DESC - Generation
90 | 20211118003 | 2021-11-18 | 64.9 | Aiken, SC | Urquhart 115 kV Substation | 2024-07-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn | DESC - Generation
91 | 20211118004 | 2021-11-18 | 65.9 | Aiken, SC | Urquhart 115 kV Substation | 2024-07-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn | DESC - Generation
92 | 20211118005 | 2021-11-18 | 65.4 | Berkeley, SC | Bushy Park CT 115 kV Tap | 2026-01-01 |  | Network/Energy | Natural Gas | NA |  |  |  | Withdrawn | DESC - Generation
93 | 20211119001 | 2021-11-19 | 115 | Fairfield, SC | Blythewood Switching Station - Winnsboro 115kV | 2024-12-01 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Withdrawn
94 | 20211221001 | 2021-12-21 | 75 | Hampton, SC | Fairfax - Yemassee 115kV | 2024-10-31 |  | Network/Energy | Batteries | NA |  |  |  | Withdrawn
95 | 20220112001 | 2022-01-12 | 75 | Hampton, SC | Fairfax - Yemassee 115kV | 2026-10-31 |  | Network/Energy | Solar | NA |  |  |  | Trans Cluster | Greenbow Solar Park LLC
96 | 20220118001 | 2022-01-21 | 450 | Richland, SC | Wateree - Hopkins 230 kV #2 | 2024-06-30 |  | Network/Energy | Solar/Batteries | NA |  |  |  | Withdrawn
97 | 20220128001 | 2022-02-01 | 74.99 | Aiken, SC | Urquhart - Salem Switching Station 115 kV | 2025-01-01 |  | Network/Energy | Batteries | NA |  |  |  | Withdrawn
98 | 20220202001 | 2022-02-03 | 100 | Richland, SC | VCS2 - Saluda River 230kV | 2025-01-01 |  | Network/Energy | Batteries | NA |  |  |  | Withdrawn
99 | 20220228001 | 2022-02-28 | 199.99 | Richland, SC | Wateree - Hopkins 230 kV #1 | 2025-01-01 |  | Network/Energy | Batteries | NA |  |  |  | Withdrawn
100 | 20220316001 | 2022-03-16 | 80 | Aiken, SC | Williston - Toolebeck 115kV | 2024-10-01 |  | Network/Energy | Solar | NA |  |  |  | Withdrawn
101 | 20220429001 | 2022-04-29 | 75 | Calhoun, SC | Wateree - St. George 230 kV | 2026-06-01 |  | Network/Energy | Solar | NA |  |  |  | Trans Cluster
102 | 20220504001 | 2022-05-04 | 400 | Richland, SC | Wateree - Hopkins 230 kV #2 | 2026-12-31 |  | Network/Energy | Solar & Batteries | NA |  |  |  | Withdrawn
103 | 20220601002 | 2022-06-01 | 400 | Richland, SC | Wateree - Hopkins 230 kV #1 | 2026-12-31 |  | Network/Energy | Solar & Batteries | NA |  |  |  | Withdrawn
TC1 |  |  |  |  | See Transitional Cluster Queue posted on OASIS for details | [6 empty] | Complete | Complete | Complete
D23 |  |  |  |  | See DISIS 2023 Cluster Queue posted on OASIS for details | [6 empty] | Complete | In Progress | In Progress
D24 |  |  |  |  | See DISIS 2024 Cluster Queue posted on OASIS for details | [6 empty] | In Progress |  | In Progress