## DEC
Duke Energy Carolinas FERC Generator Interconnection Queue Data as of 8/15/2025
OPCO | Transmission Designation | Source System Unique ID | Queue Number | Queue Issued Date | Interconnection Customer | Queue Indicator* | Operational Status | Operational Date | Installed Capacity MW AC | Project Size Summer MWAC | Project Size Winter MWAC | Energy Source Type | Facility County | Facility State | Transmission Line | Substation Name | Duke Estimated Startup Date | Type of Service | Advance Notice of Scoping Meeting
DEC | FERC | 977574 | 2025-06-30 10:31:00 | 2025-06-30 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 718 | 679000 | 718000 | Natural Gas | Spartanburg | SC | Tiger Tie |  |  | NRIS
DEC | FERC | 977726 | 2025-06-30 11:01:00 | 2025-06-30 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 1822 | 1406 | 1524 | Natural Gas | Rowan | NC | Woodleaf SW STA |  |  | Both
DEC | FERC | 976884 | 2025-06-30 10:29:00 | 2025-06-30 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 400 | 353000 | 446000 | Natural Gas | Cherokee | SC | RIPP SW STA |  |  | NRIS
DEC | FERC | 977731 | 2025-06-25 16:09:00 | 2025-06-25 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 1455 | 1342 | 1485 | Natural Gas | Davidson | NC | Tyro Bl/Wh 230 kV |  |  | NRIS
DEC | FERC | 977563 | 2025-06-24 05:50:00 | 2025-06-24 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 703 | 703000 | 762000 | Natural Gas | Rowan | NC |  |  |  | Both
DEC | FERC | 977564 | 2025-06-24 06:31:00 | 2025-06-24 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 703 | 703 | 762 | Natural Gas | Cleveland | NC |  |  |  | Both
DEC | FERC | 977565 | 2025-06-24 06:58:00 | 2025-06-24 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 95 | 95 | 95 | Natural Gas | Cleveland | NC |  |  |  | Both
DEC | FERC | 977273 | 2025-06-20 11:28:00 | 2025-06-20 | Masked | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 63 |  |  | Solar | Union | SC | Jordan (Gillespie Tap) 100 kV |  |  | NRIS
DEC | FERC | 977286 | 2025-06-18 13:40:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 250 |  |  | Battery | Stokes | NC | Rural Hall BL/WH 230 kV |  |  | Both
DEC | FERC | 977299 | 2025-06-18 15:55:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 199 |  |  | Battery | Gaston | NC | Riverbend BESS / Stonewater Tie 100 kV |  |  | Both
DEC | FERC | 977301 | 2025-06-18 13:25:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 250 |  |  | Battery | Gaston | NC | Allen Steam Plant Station 230 kV |  |  | Both
DEC | FERC | 977302 | 2025-06-18 11:13:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 99 |  |  | Battery | York | SC | Huckleberry Wh 100 kV |  |  | Both
DEC | FERC | 977308 | 2025-06-18 14:40:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 99 |  |  | Battery | Spartanburg | SC | Peach Valley Tie 230 kV |  |  | Both
DEC | FERC | 977315 | 2025-06-18 12:50:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 99 |  |  | Battery | Greenwood | SC | CHAMPION Wh 100 kV |  |  | Both
DEC | FERC | 976971 | 2025-06-18 10:35:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 99 |  |  | Battery | Iredell | NC | McCain Bl 100 kV |  |  | Both
DEC | FERC | 977296 | 2025-06-18 15:52:00 | 2025-06-18 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 199 |  |  | Battery | Durham | NC | Parkwood Tie 100 kV |  |  | Both
DEC | FERC | 978034 | 2025-05-16 10:51:00 | 2025-05-16 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 13 |  |  | Natural Gas | Forsyth | NC
DEC | FERC | 978035 | 2025-05-16 10:53:00 | 2025-05-16 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 10 |  |  | Natural Gas | Forsyth | NC |  |  |  | Both
DEC | FERC | 978030 | 2025-04-21 13:35:00 | 2025-04-21 | Duke Energy Carolinas, LLC | 2025 DISIS | Phase 1 Cluster Study - Pending |  | 40 |  |  | Natural Gas | Anderson | SC | W.S. LEE COMBINED CYCLE STA 100 kV |  |  | Both
DEC | FERC | 967699 | 2024-11-25 14:33:00 | 2024-11-25 | Duke Energy Carolinas, LLC - Maiden Creek Surplus |  | Interconnection Agreement Execution - Pending |  | 50 |  |  | Battery | Catawba | NC |  |  |  | Both
DEC | FERC | 962624 | 2024-09-27 14:15:00 | 2024-09-27 | Masked | 2024 Solar + Procurement | Withdrawn |  | 74.9 | 74.9 | 74.9 | Solar | Greenwood | SC | Florida 44 kV |  |  | Both
DEC | FERC | 962913 | 2024-09-26 12:05:00 | 2024-09-26 | Masked | 2024 Solar + Procurement | Withdrawn |  | 120 | 120000 | 120000 | Solar | McCormick | SC | CLARK HILL 115kV |  |  | NRIS
DEC | FERC | 963122 | 2024-09-26 10:42:00 | 2024-09-26 | Duke Energy Carolinas LLC | 2024 Solar + Procurement | Phase 2 Cluster Study - In Progress |  | 50 | 50 | 50 | Solar | Laurens | SC | CLINTON 100kV |  |  | NRIS
DEC | FERC | 962989 | 2024-09-24 11:23:00 | 2024-09-24 | Duke Energy Carolinas LLC | 2024 Solar + Procurement | Withdrawn |  | 34 | 34 | 34 | Solar | Anderson | SC | TOXAWAY 100kV |  |  | NRIS
DEC | FERC | 962640 | 2024-09-24 11:30:00 | 2024-09-24 | Duke Energy Carolinas LLC | 2024 Solar + Procurement | Withdrawn |  | 130 | 130 | 130 | Solar | Stokes | NC | PINE HALL 100kV |  |  | NRIS
DEC | FERC | 957449 | 2024-06-28 12:36:00 | 2024-06-28 | Masked | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 26.13 | 26130 | 26130 | Solar | Greenwood | SC | Florida |  |  | ERIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956712 | 2024-06-28 10:59:00 | 2024-06-28 | Duke Energy Carolinas, LLC | 2024 DISIS | Withdrawn |  | 38.25 | 38.25 | 38.25 | Solar | Newberry | SC | Clinton Bl 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956934 | 2024-06-28 13:19:00 | 2024-06-28 | Masked | 2024 DISIS | Withdrawn |  | 29.7 |  |  | Solar | Fairfield | SC |  |  |  | ERIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957349 | 2024-06-27 18:33:00 | 2024-06-27 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 112 |  |  | Hydroelectric | Oconee | SC | JOCASSEE HYDRO Substation 230 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957261 | 2024-06-27 18:18:00 | 2024-06-27 | Masked | 2024 DISIS | Withdrawn |  | 100 | 100 | 100 | Battery | Newberry | SC | CHAMPION |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957043 | 2024-06-27 14:18:00 | 2024-06-27 | Masked | 2024 DISIS | Withdrawn |  | 500 | 485000 | 500000 | Natural Gas | Cherokee | SC | RIVERVIEW SW STA 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957051 | 2024-06-27 11:27:00 | 2024-06-27 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 9.9 | 0 | 0 | Hydroelectric | Jackson | NC | THORPE HYDRO Substation 161 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957073 | 2024-06-27 17:43:00 | 2024-06-27 | Masked | 2024 DISIS | Withdrawn |  | 199 | 199 | 199 | Battery | Guilford | NC | PLEASANT GARDEN TIE 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957146 | 2024-06-27 17:48:00 | 2024-06-27 | Masked | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 200 | 200 | 200 | Solar | Newberry | SC | CHAMPION |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957233 | 2024-06-26 10:42:00 | 2024-06-26 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 40 |  |  | Nuclear | York | SC | CATAWBA NUC SW STA 230 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957243 | 2024-06-26 11:00:00 | 2024-06-26 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 |  |  | Nuclear | Mecklenburg | NC | MCGUIRE SWITCHING STA |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957247 | 2024-06-26 11:11:00 | 2024-06-26 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 40 |  |  | Nuclear | Mecklenburg | NC | MCGUIRE SWITCHING STA 500 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957101 | 2024-06-25 14:00:00 | 2024-06-25 | Masked | 2024 DISIS | Withdrawn |  | 156.3 | 135 | 168 | Natural Gas | Cherokee | SC | CHEROKEE COUNTY COGEN FACILITY |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957514 | 2024-06-21 10:17:00 | 2024-06-21 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 5 | 5 | 5 | Natural Gas | Anderson | SC | LEE CT UNIT 7C Substation |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957517 | 2024-06-21 10:17:00 | 2024-06-21 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 5 | 5 | 5 | Natural Gas | Anderson | SC | LEE CT UNIT 8C Substation |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957264 | 2024-06-21 11:29:00 | 2024-06-21 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 1450 | 1354 | 1450 | Natural Gas | Anderson | SC | Anderson Tie 230 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957437 | 2024-06-20 10:27:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 | 7 | 33 | Natural Gas | Rockingham | NC | Ernest SW Station 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956747 | 2024-06-20 13:37:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 455 | 468.1 | 455 | Natural Gas | Rowan | SC | Buck Tie Switchyard 100 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956754 | 2024-06-20 17:39:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Withdrawn |  | 940 | 936.2 | 940 | Natural Gas | Stokes | NC |  |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 960889 | 2024-06-20 13:37:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 455 | 468.1 | 455 | Natural Gas | Rowan | NC | Buck Steam Switchyard 100 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 961188 | 2024-06-20 17:39:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 455 | 453.1 | 455 | Natural Gas | Stokes | NC |  |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 961210 | 2024-06-20 17:39:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 455 | 453.1 | 455 | Natural Gas | Stokes | NC |  |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957447 | 2024-06-20 10:27:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 | 7 | 33 | Natural Gas | Rockingham | NC | Ernest SW Station 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957509 | 2024-06-20 10:27:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 | 7 | 33 | Natural Gas | Rockingham | NC | Ernest SW Station 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957510 | 2024-06-20 10:30:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 | 7 | 33 | Natural Gas | Rockingham | NC | Ernest SW Station 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 957511 | 2024-06-20 10:31:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 33 | 7 | 33 | Natural Gas | Rockingham | NC | Ernest SW Station 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956180 | 2024-06-20 06:56:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Withdrawn |  | 99 |  |  | Battery | Rockingham | NC | Dan River CTCC Station 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956141 | 2024-06-20 08:28:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 199 |  |  | Battery | Gaston | NC | Southpoint Switching Station 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956469 | 2024-06-20 11:15:00 | 2024-06-20 | Duke Energy Carolinas LLC | 2024 DISIS | Withdrawn |  | 192 | 192 | 192 | Hydroelectric | Oconee | SC | Bad Creek Hydro Substation 500 kV |  |  | NRIS | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956294 | 2024-06-19 15:34:00 | 2024-06-19 | Duke Energy Carolinas, LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 115 | 115 | 115 | Battery | Rockingham | NC | SADLER TIE 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956240 | 2024-06-19 16:15:00 | 2024-06-19 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 99 | 0 | 0 | Battery | Rutherford | NC | CLIFFSIDE STEAM STA 5 SW YD 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956971 | 2024-06-11 10:31:00 | 2024-06-11 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 28 | 7 | 28 | Natural Gas | Rowan | NC | BUCK CTCC STA YARD 230 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956974 | 2024-06-11 13:33:00 | 2024-06-11 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 28 | 28 | 28 | Natural Gas | Rockingham | NC | Dan River CTCC Station 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 956475 | 2024-06-10 15:35:00 | 2024-06-10 | Duke Energy Carolinas LLC | 2024 DISIS | Phase 3 Cluster Study - In Progress |  | 30 | 40 | 30 | Natural Gas | Anderson | SC | W.S. LEE COMBINED CYCLE STA 100 kV |  |  | Both | Pending Scoping Meeting held on 7/10/2024
DEC | FERC | 919799 | 2023-09-29 06:32:00 | 2023-09-29 | Masked | 2023 Solar + Procurement | Withdrawn |  | 45 | 45000 | 45000 | Solar | Anderson | SC | Toxaway |  |  | Both | Scoping Meeting held on 10/13/2023
DEC | FERC | 920631 | 2023-09-28 11:33:00 | 2023-09-28 | Duke Energy Carolinas LLC | 2023 Solar + Procurement | Withdrawn |  | 38.25 | 38.25 | 38.25 | Solar | Newberry | SC | Clinton |  |  | Both | Scoping Meeting held on 10/13/2023
DEC | FERC | 919551 | 2023-09-28 09:28:00 | 2023-09-28 | Duke Energy Carolinas LLC | 2023 Solar + Procurement | Engineering Design - Pending |  | 40 | 40000 | 40000 | Solar | Lincoln | NC | Mull |  |  | Both | Scoping Meeting held on 10/13/2023
DEC | FERC | 918641 | 2023-09-28 08:49:00 | 2023-09-28 | Masked | 2023 Solar + Procurement | Withdrawn |  | 25 | 25 | 25 | Solar | Greenwood | SC | Florida |  |  | Both | Scoping Meeting held on 10/13/2023
DEC | FERC | 924437 | 2023-09-20 17:25:00 | 2023-09-20 | Masked | 2023 Solar + Procurement | Withdrawn |  | 58 |  |  | Solar | Union | SC | Jordan |  |  |  | Scoping Meeting held on 10/13/2023
DEC | FERC | 900491 | 2023-06-29 14:04:00 | 2023-06-29 | Masked | 2023 DISIS | Withdrawn |  | 100 |  |  | Battery | Spartanburg | SC | Tiger Tie Substation |  |  |  | Scoping Meeting held on 7/11/2023
DEC | FERC | 900495 | 2023-06-29 13:54:00 | 2023-06-29 | Masked | 2023 DISIS | Withdrawn |  | 49.9 |  |  | Battery | Durham | NC | Geer Wh 100 kV |  |  |  | Scoping Meeting held on 7/11/2023
DEC | FERC | 899053 | 2023-06-28 21:53:00 | 2023-06-28 | Duke Energy Carolinas LLC | 2023 DISIS | Interconnection Agreement Execution - Pending Customer Response |  | 120 |  |  | Battery | Wilkes | NC | Wilkes Tie |  |  | Both | Scoping Meeting held on 7/11/2023
DEC | FERC | 898881 | 2023-06-28 14:20:00 | 2023-06-28 | Masked | 2023 DISIS | Withdrawn |  | 199.9 | 199.9 | 199.9 | Battery | Gaston | NC | Riverbend Steam Station |  |  | Both | Scoping Meeting held on 7/11/2023
DEC | FERC | 899759 | 2023-06-28 15:00:00 | 2023-06-28 | Duke Energy Carolinas LLC | 2023 DISIS | Engineering Design - Pending |  | 136 |  |  | Natural Gas | Catawba | NC | Marshall Steam Station 230KV Switchyard |  | 2028-08-31 | NRIS | Scoping Meeting held on 7/11/2023
DEC | FERC | 899793 | 2023-06-28 14:24:00 | 2023-06-28 | Duke Energy Carolinas LLC | 2023 DISIS | Engineering Design - In Progress |  | 1.5 |  |  | Hydroelectric | Jackson | NC | EAST FORK |  | 2026-03-30 | NRIS | Scoping Meeting held on 7/11/2023
DEC | FERC | 899609 | 2023-06-28 10:19:00 | 2023-06-28 | Duke Energy Carolinas LLC | 2023 DISIS | Engineering Design - In Progress |  | 1.8 |  |  | Hydroelectric | Jackson | NC | BEAR CREEK HYDRO |  | 2026-01-15 | NRIS | Scoping Meeting held on 7/11/2023
DEC | FERC | 898997 | 2023-06-27 19:08:00 | 2023-06-27 | Masked | 2023 DISIS | Facility Study - Restudy |  | 199.9 | 199.9 | 199.9 | Battery | Rutherford | NC | Cliffside Tie Substation |  |  | Both | Scoping Meeting held on 7/11/2023
DEC | FERC | 567168 | 2022-06-28 16:54:00 | 2022-06-28 | Granite Energy Storage LLC | 2022 DISIS | Engineering Design |  | 197 | 199 | 199 | Battery | Mecklenburg | NC |  | HARRISBURG TIE 230 kV | 2029-12-17 | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 568550 | 2022-06-28 15:30:00 | 2022-06-28 | Masked | 2022 DISIS | Withdrawn |  | 197 | 199 | 199 | Battery | Greenwood | SC |  | HODGES TIE |  | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 567758 | 2022-06-27 12:22:00 | 2022-06-27 | Masked | 2022 DISIS | Withdrawn |  | 500 | 452.9 | 496.4 | Natural Gas | Davidson | NC | Tyro 230 kV |  |  | NRIS | Scoping Meeting held on 7/12/2022
DEC | FERC | 569364 | 2022-06-27 13:28:00 | 2022-06-27 | Masked | 2022 DISIS | Withdrawn |  | 757 | 739 | 757 | Natural Gas | Cherokee | SC |  | Riverview Switching Station |  | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 569164 | 2022-06-24 16:35:00 | 2022-06-24 | Duke Energy Carolinas LLC | 2022 DISIS | Engineering Design |  | 70.7 |  |  | Solar | Newberry | SC | Champion Bl 100 kV |  | 2027-12-01 | NRIS | Scoping Meeting held on 7/12/2022
DEC | FERC | 568672 | 2022-06-23 15:17:00 | 2022-06-23 | Duke Energy Carolinas LLC | 2022 DISIS | Withdrawn |  | 176.3 |  |  | Solar | Davie | NC | Marshall 230 kV |  |  | NRIS | Scoping Meeting held on 7/12/2022
DEC | FERC | 566928 | 2022-06-22 12:58:00 | 2022-06-22 | Duke Energy Carolinas LLC | 2022 DISIS | Withdrawn |  | 100 |  |  | Solar | Forsyth | NC |  | Belews Creek Switching Station |  | NRIS | Scoping Meeting held on 7/12/2022
DEC | FERC | 566988 | 2022-06-20 16:37:00 | 2022-06-20 | Duke Energy Carolinas LLC | 2022 DISIS | Withdrawn |  | 1680 |  |  | Battery | Oconee | SC |  | BAD CREEK HYDRO |  | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 564266 | 2022-06-13 10:50:00 | 2022-06-13 | Masked | 2022 DISIS | Withdrawn |  | 757 | 739 | 757 | Natural Gas | Cherokee | SC |  | RIVERVIEW SW STA |  | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 563648 | 2022-06-03 14:05:00 | 2022-06-03 | Duke Energy Carolinas LLC | 2022 DISIS | Engineering Design |  | 115 | 115 | 115 | Battery | Gaston | NC |  | STONEWATER TIE | 2027-12-31 | Both | Scoping Meeting held on 7/12/2022
DEC | FERC | 238926 | 2022-04-12 16:50:00 | 2022-04-12 | Duke Energy Carolinas LLC |  | Construction - In Progress |  | 0 |  |  | Battery | Union | NC |  |  |  | Both
DEC | FERC | 191136 | 2021-08-13 07:55:00 | 2021-08-13 | Duke Energy Carolinas LLC | Transitional Cluster Study | Withdrawn |  | 920 | 802 | 920 | Natural Gas | Catawba | NC |  |  |  | Both
DEC | FERC | 186466 | 2021-07-06 15:28:00 | 2021-07-06 | Duke Energy Carolinas LLC | Transitional Cluster Study | Construction - In Progress |  | 50 |  |  | Battery | Gaston | NC | Allen BL 100kV |  | 2025-12-01 | Both
DEC | FERC | 175826 | 2021-05-21 11:52:00 | 2021-05-21 | Masked |  | Withdrawn |  | 150 | 150 | 150 | Battery | Greenville | SC |  | N Greenville Tie |  | Both
DEC | FERC | 175902 | 2021-05-21 11:54:00 | 2021-05-21 | Masked |  | Withdrawn |  | 100 | 100 | 100 | Battery | Greenville | SC |  | Holocombe |  | Both
DEC | FERC | 142880 | 2020-11-16 19:19:00 | 2020-11-16 | Masked |  | Withdrawn |  | 80 | 80 | 80 | Solar | Surry | NC | Bannertown 100kV W/B |  |  | Both
DEC | FERC | 138414 | 2020-10-22 14:49:00 | 2020-10-22 | Masked | Transitional Cluster Study | Withdrawn |  | 348 | 325 | 348 | Natural Gas | Gaston | NC | Sampson 230 kV |  |  | Both
DEC | FERC | 116552 | 2020-05-24 07:44:00 | 2020-05-24 | Broad River Energy LLC |  | Commercial Operation - Commercial Operation Date Declared |  | 50 | 50 | 50 | Natural Gas | Cherokee | SC |  | Riverview SW STA
DEC | FERC | 072304 | 2020-03-26 07:33:00 | 2020-03-26 | Duke Energy Carolinas LLC |  | Withdrawn |  | 565 | 560 | 565 | Natural Gas | Rutherford | NC |  | Cliffside 230 kV |  | Both
DEC | FERC | 072340 | 2020-03-26 07:34:00 | 2020-03-26 | Duke Energy Carolinas LLC |  | Withdrawn |  | 602 | 568 | 602 | Natural Gas | Rutherford | NC | Cliffside 230 kV |  |  | Both
DEC | FERC | 069510 | 2020-03-06 10:03:00 | 2020-03-06 | Masked |  | Withdrawn |  | 40 | 40 | 40 | Solar | Greenwood | SC | Greenwood W/B 100kV
DEC | FERC | 063826 | 2020-01-15 11:55:00 | 2020-01-15 | Masked | Transitional Cluster Study | Withdrawn |  | 692 | 670 | 692 | Natural Gas | Rowan | NC |  | Woodleaf 500kV
DEC | FERC | 063844 | 2020-01-15 11:56:00 | 2020-01-15 | Masked |  | Withdrawn |  | 692 | 670 | 692 | Natural Gas | Forsyth | NC
DEC | FERC | 042110 | 2019-08-09 11:10:00 | 2019-08-09 | Masked |  | Withdrawn |  | 100 | 100000 | 100000 | Solar | Union | SC | Robat 100 kV B/W |  |  | NRIS
DEC | FERC | 042100 | 2019-08-09 11:09:00 | 2019-08-09 | Masked |  | Withdrawn |  | 110 | 110000 | 110000 | Solar | Newberry | SC | Champion 100 kV B/W |  |  | NRIS
DEC | FERC | 073054 | 2019-07-15 11:59:00 | 2019-07-15 | Masked | Transitional Cluster Study | Withdrawn |  | 1503 | 1379 | 1503 | Natural Gas | Davidson | NC | Tyro BL/WH 230kV |  |  | NRIS
DEC | FERC | 038084 | 2019-06-06 16:31:00 | 2019-06-06 | Masked |  | Withdrawn |  | 75 | 75 | 75 | Solar | Davidson | NC | High Point 100 kV |  |  | Both
DEC | FERC | 035278 | 2019-05-06 13:42:00 | 2019-05-06 | Duke Energy Carolinas LLC |  | Engineering Design - In Progress |  | 42 | 42 | 42 | Solar | Laurens | SC | Enoree 44kV |  | 2025-12-01 | NRIS
DEC | FERC | 034816 | 2019-04-24 08:18:00 | 2019-04-24 | Duke Energy Carolinas |  | Withdrawn |  | 1350 | 1240 | 1350 | Natural Gas | Davidson | NC | Tyro 230 kV |  |  | NRIS
DEC | FERC | 031422 | 2019-02-27 15:38:00 | 2019-02-27 | Duke Energy Carolinas |  | Withdrawn |  | 602 | 568 | 602 | Natural Gas | Spartanburg | SC | Kelsey Creek 230 kV |  |  | Both
DEC | FERC | 031510 | 2019-02-27 15:39:00 | 2019-02-27 | Duke Energy Carolinas |  | Withdrawn |  | 602 | 568 | 602 | Natural Gas | Anderson | SC | Goucha 230 kV |  |  | Both
DEC | FERC | 031520 | 2019-02-27 15:40:00 | 2019-02-27 | Duke Energy Carolinas |  | Withdrawn |  | 602 | 568 | 602 | Natural Gas | Cherokee | SC |  | Riverview SW STA |  | Both
DEC | FERC | 027093 | 12/20/2018 11:59 AM | 2018-12-20 | Masked | Transitional Serial Study | Withdrawn |  | 20 | 20 | 20 | Solar | Laurens | SC
DEC | FERC | 026755 | 181107_1540 | 2018-11-07 | Duke Energy Carolinas - Angus |  | Withdrawn |  | 72 | 72000 | 72000 | Solar | Laurens | SC
DEC | FERC | 026749 | 2018-10-09 03:06:00 AM | 2018-10-09 | Duke Energy Carolinas LLC |  | Withdrawn |  | 44.4 |  |  | Solar | Newberry | SC | Champion 100kV W |  |  | NRIS
DEC | FERC | 026753 | 2018-10-09 03:04:00 AM | 2018-10-09 | Duke Energy Carolinas LLC |  | Withdrawn |  | 38.4 | 54937.58 | 54937.58 | Solar | Greenwood | SC | Laurens 100kV B
DEC | FERC | 026937 | 2018-10-09 03:02:00 AM | 2018-10-09 | Duke Energy Carolinas LLC |  | Withdrawn |  | 36 | 36 | 36 | Solar | Laurens | SC | Laurens 100kV B |  |  | NRIS
DEC | FERC | 026939 | 2018-10-09 03:03:00 AM | 2018-10-09 | Duke Energy Carolinas LLC - Angus 2 |  | Withdrawn |  | 36 | 36000 | 36000 | Solar | Laurens | SC | Laurens 100kV W
DEC | FERC | 026149 | 180906_1043 | 2018-09-06 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared |  | 16 | 16 | 16 | Nuclear | York | SC |  | Catawba | 2021-04-30 | NRIS
DEC | FERC | 024393 | 180725_0921 | 2018-07-25 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared |  | 45 | 45 | 45 | Nuclear | Oconee | SC |  | Oconee | 2024-08-31 | NRIS
DEC | FERC | 024015 | Project 24352 | 2018-07-18 | Masked |  | Withdrawn |  | 80 | 80000 | 80000 | Solar | Fairfield | SC
DEC | FERC | 024029 | Project 13174 | 2018-07-18 | Masked |  | Withdrawn |  | 80 |  |  | Solar | Union | SC
DEC | FERC | 024033 | 180718_1143 | 2018-07-18 | Masked |  | Withdrawn |  | 80 | 80000 | 80000 | Solar | Union | SC
DEC | FERC | 022483 | 180530_1633 | 2018-05-30 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared | 2024-03-16 | 320 | 320 | 320 | Hydroelectric | Oconee | SC |  | Bad Creek | 2023-10-12
DEC | FERC | 021931 | 180510_1057 | 2018-05-10 | Masked |  | Withdrawn |  | 80 | 80000 | 80000 | Solar | Union | SC
DEC | FERC | 021793 | 180507_1027 | 2018-05-07 | Masked |  | Withdrawn |  | 40 | 40000 | 40000 | Solar | Newberry | SC | Midway B/W | N/A
DEC | FERC | 021351 | 180420_0856 | 2018-04-20 | Masked |  | Withdrawn |  | 38 | 38000 | 38000 | Solar | Catawba | NC | Mull B/W | N/A
DEC | FERC | 021357 | 180420_0931 | 2018-04-20 | Masked |  | Withdrawn |  | 50 | 50000 | 50000 | Solar | Newberry | SC |  | Bush River
DEC | FERC | 021369 | 180420_1125 | 2018-04-20 | Masked |  | Withdrawn |  | 80 | 80000 | 80000 | Solar | Fairfield | SC | Winnsboro B/W | N/A
DEC | FERC | 021363 | 180420_1055 | 2018-04-20 | Masked |  | Withdrawn |  | 70 | 70000 | 70000 | Solar | Newberry | SC |  | Bush River
DEC | FERC | 020392 | 180412_1645 | 2018-04-12 | Masked |  | Withdrawn |  | 474 | 324 | 474 | Natural Gas | Cherokee | SC |  | Riverview
DEC | FERC | 020601 | 180316_1552 | 2018-03-16 | Duke Energy Carolinas LLC - Dan River CC Station 327 MW STG10 |  | Withdrawn |  | 327 | 327000 | 327000 | Natural Gas | Rockingham | NC |  | Dan River Steam Station |  | NRIS
DEC | FERC | 020596 | 180316_1506 | 2018-03-16 | Duke Energy Carolinas LLC - Buck CC Station 327 MW STG10 |  | Withdrawn |  | 327 | 327000 | 327000 | Natural Gas | Rowan | NC |  | Buck Tie |  | NRIS
DEC | FERC | 021177 | 180305_1522 | 2018-03-05 | Masked | Transitional Cluster Study | Withdrawn |  | 741 | 566 | 741 | Natural Gas | Cherokee | SC |  | Riverview
DEC | FERC | 020197 | 180219_1028 | 2018-02-19 | Masked | Transitional Cluster Study | Withdrawn |  | 747 | 734 | 747 | Natural Gas | Anderson | SC |  | Anderson
DEC | FERC | 020154 | 180214_1604 | 2018-02-14 | Masked |  | Withdrawn |  | 74.97 | 74970 | 74970 | Solar | Laurens | SC | Rabon Black 100 | N/A
DEC | FERC | 019909 | 180130 0836 | 2018-01-30 | Masked |  | Withdrawn |  | 25 | 25000 | 25000 | Solar | Chester | SC | Red River 1 & 2 | N/A
DEC | FERC | 019228 | 171215_1059 | 2017-12-15 | Masked |  | Withdrawn |  | 74.97 | 74970 | 74970 | Solar | Greenville | SC | Rabon B/W | N/A
DEC | FERC | 019033 | 171206_1532 | 2017-12-06 | Masked |  | Withdrawn |  | 74.97 | 74970 | 74970 | Solar | Greenwood | SC | Coronaca 100kV | N/A | 2020-09-30
DEC | FERC | 018181 | 171031_1250 | 2017-10-31 | Masked |  | Withdrawn |  | 74.97 | 74970 | 74970 | Solar | Union | SC | Pacway B | N/A
DEC | FERC | 018183 | 171031_1350 | 2017-10-31 | Masked |  | Withdrawn |  | 74.97 | 74970 | 74970 | Solar | Anderson | SC |  | N/A
DEC | FERC | 017512 | 170926 1010 | 2017-09-26 | Masked |  | Withdrawn |  | 35 | 35000 | 35000 | Solar | Cabarrus | NC | Buck Black/White | N/A
DEC | FERC | 017482 | 170925_1126 | 2017-09-25 | Duke Energy Carolina LLC - Lee CC |  | Commercial Operation - Commercial Operation Date Declared | 2017-12-15 | 825 |  |  | Natural Gas | Anderson | SC |  | Lee Combined Cycle Substation |  | NRIS
DEC | FERC | 017490 | 170925 1443 | 2017-09-25 | Masked |  | Withdrawn |  | 71 | 71000 | 71000 | Solar | Union | NC | Monroe White | N/A
DEC | FERC | 017327 | 170906 1247 | 2017-09-06 | Masked |  | Withdrawn |  | 120 | 120000 | 120000 | Solar | Rowan | NC | Mocksville | N/A
DEC | FERC | 017301 | 170901 1316 | 2017-09-01 | Duke Energy Carolinas LLC | Transitional Cluster Study | Withdrawn |  | 1235 | 1130 | 1235 | Natural Gas | Rowan | NC |  | Buck | 2029-10-01
DEC | FERC | 017306 | 170901 1441 | 2017-09-01 | Duke Energy Carolinas LLC - Mill Creek CC |  | Withdrawn |  | 1235 | 1130 | 1235 | Natural Gas | Davidson | NC | Tyro 230kV | N/A
DEC | FERC | 017278 | 170831 0837 | 2017-08-31 | Masked |  | Withdrawn |  | 55 | 55000 | 55000 | Solar | Rockingham | NC | Dan River | N/A
DEC | FERC | 016860 | 42947-01 | 2017-07-31 | Masked |  | Withdrawn |  | 80 | 80000 | 80000 | Solar | Union | NC | Indian Trail | N/A
DEC | FERC | 009588 | 42893 | 2017-06-07 | Duke Energy Carolinas LLC |  | Withdrawn |  | 10 | 10000 | 10000 | Solar | Lancaster | SC | Van Wyck | N/A
DEC | FERC | 010230 | 42795 | 2017-03-01 | Duke Energy Carolinas LLC - Lincoln County CT |  | Commercial Operation - Pending | 2020-12-31 | 550 | 530 | 550 | Natural Gas | Lincoln | NC |  | Lincoln CT Site Extension |  | NRIS
DEC | FERC | 017116 | 42696 | 2016-11-22 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared | 2020-12-17 | 70 | 70000 | 70000 | Solar | Catawba | NC | Mull W | N/A | 2020-12-11 | Both
DEC | FERC | 009409 | 42690 | 2016-11-16 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared | 2020-11-30 | 25 | 25000 | 25000 | Solar | Gaston | NC | Willow | N/A | 2020-11-30 | Both
DEC | FERC | 006712 | 7/14/2016 9:55:00 AM | 2016-07-14 | Duke Energy Carolinas LLC - Clemson |  | Withdrawn |  | 74 | 74000 | 74000 | Solar | Anderson | SC
DEC | FERC | 007717 | SC2016-00086 | 2016-03-31 | Duke Energy Carolinas LLC - Whitmire Solar |  | Withdrawn |  | 25 |  |  | Solar | Newberry | SC |  | Whitmire Ret
DEC | FERC | 009414 | 42433 | 2016-03-04 | Masked |  | Withdrawn |  | 21 |  |  | Natural Gas | Durham | NC |  | Duke University Main
DEC | FERC | 017115 | 42432 | 2016-03-03 | Masked |  | Suspended |  | 519 | 474.1 | 519.2 | Natural Gas | Rockingham | NC |  | Ernest
DEC | FERC | 009452 | Project 16804 | 2015-06-17 | Masked |  | Commercial Operation - Commercial Operation Date Declared | 2018-09-25 | 74.9 |  |  | Solar |  | NC |  |  | 2018-09-25
DEC | FERC | 009637 | Project 19542 | 2015-04-28 | Monroe Solar Farm |  | Commercial Operation - Commercial Operation Date Declared | 2017-03-29 | 60 |  |  | Solar | Union | NC | Parkdale America PL 21 | N/A | 2017-04-01
DEC | FERC | 017114 | 41639-01 | 2013-12-31 | NTE Carolinas, LLC |  | Commercial Operation - Commercial Operation Date Declared | 2018-02-07 | 500 |  |  | Natural Gas | Cleveland | NC |  | Dixon School Road Switching Station |  | NRIS
DEC | FERC | 017112 | 41439-01 | 2013-06-14 | Duke Energy Carolinas-0001674400 |  | Commercial Operation - Commercial Operation Date Declared | 2015-12-10 | 36 |  |  | Natural Gas | Rockingham | NC |  | Dan River Steam Station
DEC | FERC | 017113 | 41439-02 | 2013-06-14 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared | 2014-11-05 | 36 |  |  | Natural Gas | Rowan | NC |  | Buck Tie
DEC | FERC | 017108 | 41241-01 | 2012-11-26 | Duke Energy Carolinas LLC |  | Commercial Operation - Commercial Operation Date Declared | 2013-09-15 | 27 |  |  | Hydroelectric | Caldwell | NC |  | Rhodhiss Hydro Substation
DEC | FERC | 012035 | CHKLIST-0952 | 2012-06-25 | Masked |  | Withdrawn |  | 80 |  |  | Solar | Davie | NC
DEC | FERC | 017105 | 40975-01 | 2012-03-07 | Lee Steam 800 - 100 kV |  | Withdrawn | 2016-01-16 | 800 |  |  | Natural Gas | Anderson | SC |  | Lee Steam Station 100kV
*The Queue Indicator identifies the Interconnection Study Process applicable to an Interconnection Customer’s submitted Interconnection Request.

## Operational Status Definitions
Duke Energy Carolinas FERC Generator Interconnection Queue Operational Status Definitions
Operational Status | Status Definition
IR Review - Pending | Interconnection Request has been received.
IR Review - In Progress | Interconnection Request currently under review for completeness.
IR Review - Pending Customer Response | Interconnection Request has been reviewed and additional information has been requested from Interconnection Customer.
IR Review - Complete | Interconnection Request review complete and Interconnection Customer has been assigned a queue position.
Phase 1 Cluster Study - Pending | Interconnection Customer has submitted an interconnection request into the Phase 1 cluster and has not established readiness.
Phase 1 Cluster Study - Readiness Established | Interconnection Customer has submitted an interconnection request into the Phase 1 cluster and established readiness. Interconnection Customers will stay in this status during the Interconnection Customer engagement window.
Phase 1 Cluster Study - In Progress | Phase 1 cluster study process is underway.
Phase 1 Cluster Study - Study Complete | Phase 1 cluster study process is complete and study results delivered.
Phase 2 Cluster Study - Pending | Interconnection Customer has elected into the Phase 2 cluster study and has not established readiness.
Phase 2 Cluster Study - Readiness Established | Interconnection Customer has elected into the Phase 2 cluster study and established readiness.
Phase 2 Cluster Study - In Progress | Phase 2 cluster study process is underway.
Phase 2 Cluster Study - Study Complete | Phase 2 cluster study process is complete and study results delivered.
Facility Study - Pending Customer Decision to Proceed | Transmission Provider is awaiting Interconnection Customer response for Facilities Study to continue.
Facility Study - Pending | Facilities Study has not started.
Facility Study - In Progress | Facilities Study in progress.
Facility Study - Engineering Study Complete | Facilities Study report complete but not yet delivered to Interconnection Customer.
Facility Study - Study Complete | Facilities Study complete and results delivered to Interconnection Customer.
Interconnection Agreement Execution - Pending Customer Decision to Proceed | Transmission Provider is awaiting a partially executed Interconnection Agreement from the Interconnection Customer.
Interconnection Agreement Execution - Pending Customer Financial Obligation | Transmission Provider is awaiting Interconnection Customer response on payment and/or security obligations.
Engineering Design - Pending | Engineering design work has not started.
Engineering Design - In Progress | Engineering design work in progress.
Construction - Pending | Construction work has not started.
Construction - In Progress | Construction work is in progress.
Commercial Operation - Pending | Transmission Provider construction is complete and Interconnection Customer construction is not complete. Facility is not generating power.
Commercial Operation - Commercial Operation Date Declared | Transmission Provider received declaration of Commercial Operation Date from Interconnection Customer.
Withdrawn | Interconnection Customer's Interconnection Request has been withdrawn from the interconnection queue or Interconnection Customer's Interconnection Agreement has been cancelled.
Suspended | Interconnection Customer has suspended work under a FERC LGIA.