## Table 1
Queue No. | Gulf Queue No. | General location of Interconnection | Affiliate | FPL/Third Party | Requested Network Service | County in Florida | Megawatt Capacity Addition |  | In-Service Date1 | Date Project Established in | Type of Facility2 | Primary Fuel2 | Studies Completed |  |  |  | Status3
[7 empty] | Summer | Winter |  |  |  |  | FS | SIS | OPT | FAS | Withdrawn | In-Service | IA
107 | N/A | Turkey Point Sub | N/A | FPL | Yes | Miami-Dade | 1300 | 1300 | 2027-06-01 | 2007-08-30 | N | N | Yes | Yes | Yes | Yes
108 | N/A | Turkey Point Sub | N/A | FPL | Yes | Miami-Dade | 1300 | 1300 | 2028-06-01 | 2007-08-30 | N | N | Yes | Yes | Yes | Yes
175 | N/A | Turkey Point Sub | N/A | FPL | Yes | Miami-Dade | 30 | 30 | 2020-10-31 | 2016-01-21 | N | N | Yes | Yes | N/A | N/A |  | Yes
175A | 1 | Sinai Cemetery - Farley 230kV line | N/A | Third Party | Yes | Jackson | 212.7 | 0 | 2023-11-30 | 2016-02-26 | Solar | PV | not tracked | not tracked | not tracked | Yes | Yes
191 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2026-12-31 | 2016-05-09 | Solar | PV | Yes | Yes | Yes | Yes
192 | N/A | Manatee-SR70 (PRECO) 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2027-12-31 | 2016-05-09 | Solar | PV | Yes | Yes | Yes | Yes | Yes
203 | N/A | Barna-C5 115kV line | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2021-07-10 | 2016-09-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
206 | N/A | Andytown-Orange River 500kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2022-01-31 | 2016-09-28 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
212 | N/A | Raven-Macedonia (GTC) 115kV | N/A | FPL | Yes | Baker | 60 | 0 | 2025-10-31 | 2016-10-14 | Solar | PV | Yes | Yes | N/A | Yes | Yes
243 | N/A | Lauderdale Plant-String Bus 230kV | N/A | FPL | Yes | Broward | 1182 | 1191 | 2022-06-01 | 2017-03-20 | CC | Gas | Yes | Yes | N/A | Yes |  | Yes
248A | 3 | Marianna - West Grand Ridge (PS) 115kV line | N/A | FPL | Yes | Jackson | 74.5 | 0 | 2021-12-30 | 2017-04-14 | Solar | PV | not tracked | not tracked | Yes | Yes |  | Yes
253A | 5 | Champion - Flomaton (APC) 115kV line | N/A | FPL | Yes | Escambia | 74.5 | 0 | 2021-12-30 | 2017-05-30 | Solar | PV | not tracked | not tracked | Yes | Yes |  | Yes
254 | N/A | Bradford-Putnam 115kV | N/A | Third Party | Yes | Putnam | 35 | 0 | 2026-12-30 | 2017-06-22 | Solar | PV | Yes | Yes | Yes | Yes | yes |  | Yes
255 | N/A | Buckingham-Collier 230kV | N/A | FPL | Yes | Collier | 74.5 | 0 | 2022-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
256 | N/A | Duval-Yulee 230kV | N/A | FPL | Yes | Nassau | 74.5 | 0 | 2021-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
262 | N/A | Bradford-Columbia 115kV | N/A | FPL | Yes | Union | 74.5 | 0 | 2021-02-28 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
263 | N/A | Cedar-Corbett 230kV | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2025-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
264 | N/A | Davis-Florida City #2 138kV | N/A | FPL | Yes | Miami-Dade | 74.5 | 0 | 2023-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
265 | N/A | Korona-Putnam 230kV | Affiliate | Third Party | Yes | Putnam | 74.5 | 0 | 2024-11-15 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes | Yes
266 | N/A | Putnam-St Johns 115kV | N/A | FPL | Yes | St. Johns | 74.5 | 0 | 2021-02-28 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
267 | N/A | Bridge-Indiantown #2 230kV | N/A | FPL | Yes | Martin | 74.5 | 0 | 2024-03-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
269 | N/A | Corbett-Westlake 230kV | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2021-06-30 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
270 | N/A | Indiantown-Warfield 230kV | N/A | FPL | Yes | Martin | 74.5 | 0 | 2024-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
273 | N/A | Davis-Florida City #2 138kV | N/A | FPL | Yes | Miami-Dade | 50 | 0 | 2025-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
275 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
276 | N/A | Bradford-Columbia 115kV | N/A | FPL | Yes | Union | 74.5 | 0 | 2028-07-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes
277 | N/A | Andytown-Orange River 500kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2022-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
278 | N/A | Andytown-Orange River 500kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2024-03-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
279 | N/A | Andytown-Orange River 500kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2024-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
280 | N/A | Andytown-Orange River 500kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2027-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes
281 | N/A | Martin-Poinsett 500kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2021-08-10 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
282 | N/A | Martin-Poinsett 500kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2023-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
285 | N/A | Heritage-Eldora 230kV | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2022-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
286 | N/A | Heritage-Eldora 230kV | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2021-07-26 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
288 | N/A | Springbank-Seminole Plant (SEC) 230kV | N/A | FPL | Yes | Clay | 74.5 | 0 | 2021-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
289 | N/A | Lindgren-Turkey Point 230kV | N/A | FPL | Yes | Miami-Dade | 74.5 | 0 | 2028-12-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes
291 | N/A | Skylight-Sunshine 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2021-05-10 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
292 | N/A | Heritage-Eldora 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2021-04-30 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
293 | N/A | Duval-Yulee 230kV | N/A | FPL | Yes | Nassau | 74.5 | 0 | 2025-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
294 | N/A | Corbett-Westlake 230kV | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2024-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
295 | N/A | Bradford-Putnam 115kV | N/A | FPL | Yes | Alachua | 74.5 | 0 | 2029-12-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes | Yes
297 | N/A | Malabar-Midway 230kV | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2024-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
298 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes | Yes
300 | N/A | Duval-Raven 230kV | N/A | FPL | Yes | Baker | 74.5 | 0 | 2021-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
301 | N/A | Martin-Sherman 230kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2021-02-28 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
302 | N/A | Malabar-Midway 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2021-05-11 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
303 | N/A | Bridge-Indiantown #1 230kV | N/A | FPL | Yes | Martin | 74.5 | 0 | 2025-01-31 | 2017-06-27 | Solar | PV | Yes | Yes |  | Yes |  | Yes
306 | N/A | Malabar-Midway 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2026-01-31 | 2017-06-27 | Solar | PV | Yes | Yes | Yes | Yes
315 | N/A | Springbank-Seminole Plant (SEC) 230kV | N/A | FPL | Yes | Clay | 74.5 | 0 | 2023-01-31 | 2017-08-09 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
316 | N/A | Springbank-Seminole Plant (SEC) 230kV | N/A | FPL | Yes | Clay | 74.5 | 0 | 2024-01-31 | 2017-08-09 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
317 | N/A | Cedar-Corbett 230kV | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2024-07-01 | 2017-08-09 | Solar | PV | Yes | Yes |  | Yes | Yes
327 | N/A | Rice Sub | N/A | Third Party | Yes | Putnam | 74.5 | 0 | 2021-06-30 | 2017-09-22 | Solar | PV | Yes | Yes | N/A | Yes | Yes |  | Yes
328A | 6 | Alligator Swamp - Shoal River 230 kV | N/A | FPL | Yes | Okaloosa | 74.9 | 0 | 2024-01-31 | 2017-10-31 | Solar | PV | not tracked | not tracked | not tracked | Yes |  | Yes
328B | 7 | Marianna - Bay County 115kV line | N/A | FPL | Yes | Bay | 50 | 0 | 2023-01-31 | 2017-12-12 | Solar | PV | not tracked | not tracked | not tracked | Yes |  | Yes
329 | N/A | Millcreek-Tocoi 230kV | N/A | Third Party | Yes | St Johns | 74.5 | 74.5 | 2023-12-01 | 2018-01-30 | Solar/Battery | PV/Battery | Yes | Yes | Yes | Yes | Yes
330 | N/A | Korona-Putnam 230kV | N/A | Third Party | Yes | Flagler | 74.5 | 74.5 | 2023-12-01 | 2018-01-30 | Solar/Battery | PV/Battery | Yes | Yes | Yes | Yes | yes |  | Yes
333 | N/A | Duval-Yulee 230kV | N/A | FPL | Yes | Nassau | 74.5 | 0 | 2026-01-31 | 2018-02-13 | Solar | PV | Yes | Yes |  | Yes
334 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-01-31 | 2018-02-13 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
336A | 8 | Alligator Swamp - Shoal River 230 kV | N/A | FPL | Yes | Santa Rosa | 74.9 | 0 | 2024-03-31 | 2018-03-19 | Solar | PV | not tracked | Yes | Yes | Yes |  | Yes
337 | N/A | Alva-Corbett 230kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2024-01-31 | 2018-03-21 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
338 | N/A | Alva-Corbett 230kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2024-11-30 | 2018-03-21 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
339 | N/A | Alva-Corbett 230kV | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2027-07-31 | 2018-03-21 | Solar | PV | Yes | Yes | Yes | Yes
344 | N/A | Duval-Raven 230kV | N/A | FPL | Yes | Baker | 74.5 | 0 | 2026-01-31 | 2018-05-04 | Solar | PV | Yes | Yes |  | Yes
346 | N/A | Bradford-Quasar 230kV | N/A | Third Party | Yes | Bradford | 74.5 | 74.5 | 2022-06-01 | 2018-05-04 | Solar/Battery | PV/Battery | Yes | Yes |  | N/A | Yes
347 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St Lucie | 74.5 | 0 | 2029-01-31 | 2018-05-23 | Solar | PV | Yes | Yes |  | Yes
348 | N/A | Springbank-Seminole Plant (SEC) 230kV | N/A | FPL | Yes | Putnam | 74.5 | 0 | 2022-12-31 | 2018-06-04 | Solar | PV | Yes | Yes |  | N/A | Yes
348A | 9 | Smith- Sinai Cemetery 230kV line | N/A | FPL | No | Calhoun | 350 | 0 | 2023-01-31 | 2018-06-07 | Solar | PV | not tracked | Yes | Yes | Yes |  | Yes
348B | 10 | Sinai - South Bainbridge (GPC) 230kV line | N/A | FPL | Yes | Gadsden | 74.5 | 0 | 2022-12-30 | 2018-06-11 | Solar | PV | not tracked | Yes |  | Yes |  | Yes
350 | N/A | Quasar-Rice 230kV | N/A | FPL | Yes | Putnam | 74.5 | 0 | 2023-06-30 | 2018-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
351 | N/A | Quasar-Rice 230kV | N/A | FPL | Yes | Putnam | 74.5 | 0 | 2024-11-30 | 2018-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
352 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St Lucie | 74.5 | 0 | 2022-01-31 | 2018-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
354 | N/A | Rice Sub | N/A | Third Party | Yes | Putnam | 74.5 | 74.5 | 2023-12-30 | 2018-07-30 | Solar/Battery | PV/Battery | Yes | Yes | Yes | Yes | yes |  | Yes
355 | N/A | Heritage Solar-Malabar 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2024-01-31 | 2018-07-30 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
356 | N/A | Heritage Solar-Malabar 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2025-01-31 | 2018-07-30 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
357 | N/A | Heritage Solar-Malabar 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2028-07-31 | 2018-07-30 | Solar | PV | Yes | Yes |  | Yes
358 | N/A | Heritage Solar-Malabar 230kV | N/A | FPL | Yes | Brevard | 74.5 | 0 | 2028-07-31 | 2018-07-30 | Solar | PV | Yes | Yes |  | Yes
358A | 12 | Holmes Creek - Defuniak Springs (PS) 115kV line | N/A | FPL | Yes | Jackson | 50 | 50 | 2028-07-31 | 2018-09-17 | Solar/Battery | PV/Battery | Yes | Yes |  | Yes
360 | N/A | Yulee-Kingsland (GPC) 230kV | N/A | FPL | Yes | Nassau | 74.5 | 0 | 2025-03-31 | 2018-09-26 | Solar | PV | Yes | Yes |  | Yes | Yes
360A | 13 | Callaway - Sinai 115kV line | N/A | FPL | Yes | Calhoun | 74.5 | 0 | 2022-10-01 | 2018-10-23 | Solar | PV | not tracked | Yes |  | Yes |  | Yes
361 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2022-01-31 | 2018-12-04 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
362 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2024-03-31 | 2018-12-04 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
363 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2023-12-31 | 2018-12-04 | Solar | PV | Yes | Yes | N/A | Yes | Yes
364 | N/A | Keentown-Sunshine 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2021-07-08 | 2018-12-06 | Solar | PV | Yes | Yes |  | Yes |  | Yes
365 | N/A | Keentown-Sunshine 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2024-03-31 | 2018-12-06 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
366 | N/A | Lauderdale Plant-String Bus 230kV | N/A | FPL | Yes | Broward | 197 | 209 | 2022-06-01 | 2019-02-13 | CC | Gas | Yes | Yes |  | Yes |  | Yes
366A | 16 | Smith- Sinai Cemetery 230kV line | N/A | FPL | Yes | Calhoun | 74.5 | 0 | 2025-01-31 | 2019-02-21 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
366B | 17 | Shoal River - Samson (APC) 230 kV line | N/A | FPL | Yes | Walton | 74.5 | 0 | 2022-12-30 | 2019-02-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
366D | 19 | Shoal River - Samson (APC) 230 kV line | N/A | Third Party | Yes | Okaloosa | 74.9 | 0 | 2029-10-15 | 2019-04-18 | Solar | PV | Yes | Yes |  | Yes |  |  | Yes
366E | 20 | Alligator Swamp - North Brewton (APC) 230 kV line | N/A | FPL | Yes | Escambia | 74.5 | 0 | 2022-10-01 | 2019-05-20 | Solar | PV | Yes | Yes |  | Yes |  | Yes
367A | 21 | Callaway - Sinai 115kV line | N/A | FPL | Yes | Calhoun | 74.5 | 0 | 2022-12-30 | 2019-06-20 | Solar | PV | Yes | Yes |  | Yes |  | Yes
369 | N/A | Eldora-Heritage 230kV | N/A | FPL | Yes | St Lucie | 74.5 | 0 | 2024-01-31 | 2019-06-27 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
Queue No. | Gulf Queue No. | General location of Interconnection | Affiliate | FPL/Third Party | Requested Network Service | County in Florida | Megawatt Capacity Addition |  | In-Service Date1 | Date Project Established in | Type of Facility2 | Primary Fuel2 | Studies Completed |  |  |  | Status3
[7 empty] | Summer | Winter |  |  |  |  | FS | SIS | OPT | FAS | Withdrawn | In-Service | IA
369B | 23 | Existing Crist 230kV Substation | N/A | FPL | Yes | Escambia | 960 | 960 | 2021-12-01 | 2019-07-15 | CT | Gas | Yes | Yes |  | Yes |  | Yes
369C | 24 | Shoal River - Samson (APC) 230 kV line | N/A | FPL | Yes | Walton | 74.5 | 0 | 2024-03-31 | 2019-09-12 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
370 | N/A | Springbank-Seminole Plant (SEC) 230kV | N/A | Third Party | Yes | Putnam | 74.9 | 0 | 2024-12-04 | 2019-09-13 | Solar | PV | Yes | Yes |  | Yes |  | Yes | Yes
371 | N/A | Manatee Sub | N/A | FPL | Yes | Manatee | 409 | 409 | 2021-11-30 | 2019-10-18 | Battery | Battery | Yes | Yes | Yes | Yes |  | Yes
373 | N/A | Lauderdale Sub | N/A | FPL | Yes | Broward | 11.5 | 11.5 | 2020-07-31 | 2019-10-22 | Battery | Battery | Yes | Yes | N/A | N/A |  | Yes
374 | N/A | Duval-Raven 230kV | N/A | FPL | Yes | Baker | 74.5 | 0 | 2024-03-31 | 2019-11-22 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
375 | N/A | Duval-Raven 230kV | N/A | FPL | Yes | Baker | 74.5 | 0 | 2024-11-30 | 2019-11-22 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
376 | N/A | Duval-Raven 230kV | sc | FPL | Yes | Baker | 74.5 | 0 | 2027-07-31 | 2019-11-22 | Solar | PV | Yes | Yes | Yes | Yes
377 | N/A | Orange River-Whidden 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2024-03-31 | 2019-11-22 | Solar | PV | Yes | Yes |  | Yes |  | Yes
378 | N/A | Orange River-Whidden 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2025-01-31 | 2019-11-22 | Solar | PV | Yes | Yes |  | Yes |  | Yes
378A | 25 | Alligator Swamp - Shoal River 230 Kv | N/A | FPL | Yes | Santa Rosa | 74.5 | 0 | 2022-10-01 | 2019-12-19 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
378B | 26 | Marianna - West Grand Ridge (PS) 115kV line | N/A | FPL | Yes | Jackson | 74.5 | 0 | 2022-10-01 | 2020-02-04 | Solar | PV | Yes | Yes |  | Yes |  | Yes
378D | 28 | Crist - Barry (APC) 230kV line | N/A | FPL | Yes | Escambia | 74.5 | 0 | 2024-03-31 | 2020-02-04 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
378G | 31 | Shoal River - Pinckard (APC) 230kV line | N/A | FPL | Yes | Walton | 74.5 | 0 | 2024-03-31 | 2020-02-05 | Solar | PV | pending | Yes | Yes | Yes |  | Yes
378H | 32 | Shoal River - Pinckard (APC) 230kV line | N/A | FPL | Yes | Walton | 74.5 | 0 | 2027-07-31 | 2020-02-05 | Solar | PV | Yes | Yes |  | Yes
379 | N/A | Columbia-Suwannee (DEF) 115kV | N/A | FPL | Yes | Columbia | 0 | 30 | 2021-11-30 | 2020-02-06 | Battery | Battery | Yes | Yes |  | Yes |  | Yes
380 | N/A | Columbia-Suwannee (DEF) 115kV | N/A | FPL | Yes | Suwannee | 0 | 30 | 2021-11-30 | 2020-02-06 | Battery | Battery | Yes | Yes |  | Yes |  | Yes
380A | 33 | Shoal River - Samson (APC) 230 kV line | N/A | FPL | Yes | Walton | 74.5 | 0 | 2025-01-31 | 2020-02-06 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
380B | 34 | Alligator Swamp - North Brewton 230 kV line | N/A | FPL | Yes | Escambia | 74.5 | 0 | 2024-11-30 | 2020-02-06 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
380C | 35 | Glendale Road - Millers Ferry (NO) 115kV line | N/A | FPL | Yes | Washington | 74.5 | 0 | 2023-04-30 | 2020-02-06 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
380D | 36 | Altha - Gaskin (PS) 115kV line | Affiliate | Third Party | Yes | Calhoun | 20 | 0 | 2027-10-15 | 2020-02-27 | Solar | PV | NA | Yes |  | Yes | Yes |  | Yes
380E | 37 | Holmes Creek - Marianna 115kV/Highland City 230kV line | N/A | Third Party | Yes | Jackson | 80 | 0 | 2024-12-01 | 2020-03-02 | Solar | PV | Yes | NA |  | N/A | Yes
381 | N/A | Orange River-Whidden 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2024-01-31 | 2020-04-18 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
381A | 38 | Smith- Sinai Cemetery 230kV line | N/A | Third Party | Yes | Bay | 74.5 | 74.5 | 2023-06-01 | 2020-06-04 | Solar | PV | NA | N/A |  | N/A | Yes
381B | 39 | Smith- Sinai Cemetery 230kV line | N/A | Third Party | Yes | Bay | 74.5 | 74.5 | 2023-06-01 | 2020-06-04 | Solar | PV | NA | N/A |  | N/A | Yes
382 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
383 | N/A | Near Arcadia | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2024-06-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
384 | N/A | Near Arcadia | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2025-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
385 | N/A | near Arcadia | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2025-06-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
386 | N/A | Near Okeechobee, Sweat Tap | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2023-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
387 | N/A | near Okeechobee | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2024-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
388 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
389 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
390 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2025-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
391 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-12-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
392 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-06-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
393 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-06-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
394 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2023-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
395 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
396 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2025-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
397 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2026-01-01 | 2020-07-14 | Solar | PV | N/A | N/A | N/A | N/A | Yes
398 | N/A | Carter-Duval | N/A | FPL | Yes | Putnam | 74.5 | 0 | 2030-07-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
399 | N/A | Sherman-Treasure 230kV | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
400 | N/A | Sweatt-Nubbin | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2025-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
401 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-11-30 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
402 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2024-11-30 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
403 | N/A | Sweatt Substation | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2025-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
404 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2026-04-30 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
405 | N/A | Sweatt-Nubbin | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2027-07-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
406 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2027-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
407 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2027-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
408 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2026-04-30 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
409 | N/A | Bermont Substation | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2025-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes |  | Yes
410 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-07-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
411 | N/A | Eldora Sub | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2027-10-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
412 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-07-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
413 | N/A | Bermont Substation | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2027-04-30 | 2020-07-21 | Solar | PV | Yes | Yes | Yes | Yes
414 | N/A | Bermont Substation | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2029-01-31 | 2020-07-21 | Solar | PV | Yes | Yes |  | Yes
415 | N/A | Manatee Sub | N/A | FPL | Yes | Manatee | 87 | 71 | 2026-12-31 | 2020-09-14 | CC | Gas | Yes | Yes |  | Yes
416 | N/A | Fort Myers Sub | N/A | FPL | Yes | Lee | 42 | 42 | 2024-05-01 | 2020-09-18 | CC | Gas | Yes | Yes |  | Yes |  | Yes
417 | N/A | Sanford Sub | N/A | FPL | Yes | Volusia | 60 | 76 | 2024-12-01 | 2020-09-18 | CC | Gas | Yes | Yes |  | Yes
418 | N/A | Turkey Point Sub | N/A | FPL | Yes | Miami-Dade | 99 | 76 | 2025-05-01 | 2020-09-18 | CC | Gas | Yes | Yes |  | Yes
419 | N/A | Martin Sub | N/A | FPL | Yes | Martin | 60 | 59 | 2026-12-31 | 2020-09-18 | CC | Gas | Yes | Yes |  | Yes
419A | 40 | Marianna - Bay County 115kV line | N/A | FPL | Yes | Bay | 24.5 | 0 | 2023-01-31 | 2021-01-13 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
420 | N/A | St Augustine | N/A | Third Party | Yes | St Johns | 728.76 | 744.32 | 2027-04-01 | 2021-03-24 | CC | Gas | Yes | Yes |  | Yes | Yes
421 | N/A | Raven-Macedonia (GTC) 115kV | N/A | FPL | Yes | Baker | 14.5 | 0 | 2025-10-31 | 2021-03-31 | Solar | PV | Yes | Yes |  | Yes | Yes
422 | N/A | Coachwhip-Sunshine | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2025-01-31 | 2021-05-11 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
423 | N/A | Southern St Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-12-31 | 2021-05-11 | Solar | PV | Yes | pending |  |  | Yes
424 | N/A | Coachwhip-Sunshine | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2028-01-31 | 2021-05-11 | Solar | PV | Yes | Yes |  | Yes
424A | 41 | Raven - Sinai 161kV line | N/A | FPL | Yes | Leon | 74.5 | 0 | 2028-07-31 | 2021-08-05 | Solar | PV | Yes | Yes |  | Yes
424B | 42 | Raven - Sinai 161kV line | N/A | FPL | Yes | Leon | 74.5 | 0 | 2028-07-31 | 2021-08-05 | Solar | PV | Yes | Yes |  | Yes
424C | 43 | Raven - Sinai 161kV line | N/A | FPL | Yes | Madison | 74.5 | 0 | 2024-12-31 | 2021-08-05 | Solar | PV | Yes | Yes |  | Yes |  | Yes
424D | 44 | Raven - Sinai 161kV line | N/A | FPL | Yes | Madison | 74.5 | 0 | 2027-04-30 | 2021-08-05 | Solar | PV | Yes | Yes |  | Yes
425 | N/A | Deerhaven (GVL)-Bradford 138kV | N/A | Third Party | Yes | Bradford | 74.9 | 74.9 | 2028-08-05 | 2021-08-20 | Solar/Battery | PV/Battery | Yes | Yes |  | Yes |  |  | Yes
425A | 45 | Holmes Creek-Highlands City 230kV | N/A | Third Party | Yes | Jackson | 75 | 75 | 2029-03-01 | 2022-02-07 | Solar/Battery | PV/Battery | Yes | Yes |  | Yes |  |  | Yes
425B | 46 | Raven - Sinai 161kV line | N/A | FPL | Yes | Gadsden | 74.5 | 0 | 2028-07-31 | 2022-02-15 | Solar | PV | Yes | Yes |  | Yes
425C | 47 | Raven - Sinai 161kV line | N/A | Third Party | Yes | Leon | 75 | 75 | 2024-12-31 | 2022-02-19 | Solar/Battery | PV/Battery | Yes | Yes |  | N/A | Yes
425D | 48 | Raven - Sinai 161kV line | N/A | Third Party | Yes | Leon | 75 | 75 | 2024-12-31 | 2022-02-19 | Solar/Battery | PV/Battery | Yes | Yes |  | N/A | Yes
426 | N/A | Davis-Florida City #2 138kV | N/A | FPL | Yes | Miami-Dade | 24.5 | 0 | 2025-01-31 | 2022-02-25 | Solar | PV | Yes | Yes |  | Yes |  | Yes
427 | N/A | Kiran-Eldora 230kV | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2027-04-30 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
428 | N/A | Coachwhip-Sunshine | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2026-01-31 | 2022-03-02 | Solar | PV | Yes | Yes | Yes | Yes
429 | N/A | Orange River-Whidden 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2027-04-30 | 2022-03-02 | Solar | PV | Yes | Yes | Yes | Yes
430 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2026-01-31 | 2022-03-02 | Solar | PV | Yes | Yes | Yes | Yes
431 | N/A | South Bay-Alva | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2026-01-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
432 | N/A | Kiran-Eldora 230kV | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2027-10-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
433 | N/A | Coachwhip-Sunshine | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2029-07-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
434 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2027-10-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
435 | N/A | Raven Substation | N/A | FPL | Yes | Columbia | 74.5 | 0 | 2030-12-31 | 2022-03-02 | Solar | PV | Yes | N/A |  | N/A | Yes
436 | N/A | Raven Substation | N/A | FPL | Yes | Columbia | 74.5 | 0 | 2031-12-31 | 2022-03-02 | Solar | PV | Yes | N/A |  | N/A | Yes
437 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2026-12-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
Queue No. | Gulf Queue No. | General location of Interconnection | Affiliate | FPL/Third Party | Requested Network Service | County in Florida | Megawatt Capacity Addition |  | In-Service Date1 | Date Project Established in | Type of Facility2 | Primary Fuel2 | Studies Completed |  |  |  | Status3
[7 empty] | Summer | Winter |  |  |  |  | FS | SIS | OPT | FAS | Withdrawn | In-Service | IA
438 | N/A | South Bay-Alva | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2028-07-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
439 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2028-01-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | Yes
440 | N/A | Raven Substation | N/A | FPL | Yes | Columbia | 74.5 | 0 | 2032-12-31 | 2022-03-02 | Solar | PV | Yes | N/A | N/A | N/A | Yes
441 | N/A | Raven Substation | N/A | FPL | Yes | Columbia | 74.5 | 0 | 2033-12-31 | 2022-03-02 | Solar | PV | Yes | N/A |  | N/A | Yes
442 | N/A | Keentown-Manatee 230kV | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2026-01-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | N/A | Yes
443 | N/A | Coachwhip-Sunshine | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2028-01-31 | 2022-03-02 | Solar | PV | Yes | Yes |  | N/A | Yes
443A | 49 | Raven - Sinai 161kV line | N/A | Third Party | Yes | Madison | 74.5 | 0 | 2025-10-31 | 2022-03-22 | Solar | PV | Yes | N/A | N/A | N/A | Yes
444 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2026-04-30 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
445 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
446 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2028-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
447 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2027-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
448 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
449 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
450 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
451 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-07-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
452 | N/A | Northern St. Lucie County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2029-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
453 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-07-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
454 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
455 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
456 | N/A | Northern St. Lucie County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2029-07-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
457 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-07-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
458 | N/A | Northern St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-01-31 | 2022-04-06 | Solar | PV | Yes | Yes |  | Yes
458A | 50 | Holmes Creek-Highlands City 230kV | N/A | Third Party | Yes | Jackson | 75 | 75 | 2025-01-11 | 2022-04-11 | Solar/Battery | PV/Battery | Yes | N/A |  | N/A | Yes
458B | 51 | Holmes Creek-Highlands City 230kV | N/A | Third Party | Yes | Jackson | 75 | 75 | 2025-01-11 | 2022-04-11 | Solar/Battery | PV/Battery | Yes | N/A |  | N/A | Yes
459 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2026-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
460 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2026-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
461 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2028-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
462 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2029-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
463 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2028-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
464 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2028-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
465 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2029-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes
466 | N/A | Collier County | N/A | FPL | Yes | Collier | 74.5 | 0 | 2029-01-31 | 2022-04-21 | Solar | PV | Yes | Yes |  | Yes | yes
467 | 52 | Alligator Swamp - Shoal River 230 Kv | N/A | FPL | Yes | Okaloosa | 74.5 | 0 | 2024-12-31 | 2022-05-13 | Solar | PV | Yes | Yes | Yes | Yes |  | Yes
468 | 53 | Raven - Sinai 161kV line | N/A | Third Party | Yes | Madison | 74.5 | 0 | 2026-03-31 | 2022-07-05 | Solar | PV | Yes | N/A |  | N/A | Yes
469 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2026-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
470 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2027-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
471 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2029-01-31 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
472 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2029-01-31 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
473 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2029-01-31 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
474 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2031-04-30 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
475 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2031-04-30 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
476 | N/A | Whidden Sub | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2031-04-30 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
477 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2030-07-31 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
478 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2029-07-31 | 2022-07-20 | Solar | PV | Yes | Yes |  | Yes
479 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2028-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
480 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
481 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-06-30 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
482 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
483 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2026-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
484 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2026-06-30 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
485 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2027-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
486 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2027-06-30 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
487 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2028-01-31 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
488 | N/A | SR70 Sweat-Whidden 230kV | N/A | FPL | Yes | Highlands | 74.5 | 0 | 2028-06-30 | 2022-07-20 | Solar | PV | Yes | N/A |  | N/A | Yes
489 | N/A | Smith- Sinai Cemetery 230kV line | N/A | FPL | Yes | Calhoun | 74.5 | 0 | 2026-01-31 | 2022-08-09 | Solar | PV | N/A | Yes |  | Yes
490 | N/A | Southern St Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
491 | N/A | Southern Indian River County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2028-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
492 | N/A | Southern Indian River County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2028-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
493 | N/A | Southern Indian River County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2028-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
494 | N/A | Southern Indian River County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2028-01-01 | 2023-01-06 | Solar | PV | N/A | N/A |  | N/A | Yes
495 | N/A | Western Palm Beach County | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2027-01-01 | 2023-01-06 | Solar | PV | N/A | N/A |  | N/A | Yes
496 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
497 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
498 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
499 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
500 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
501 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
502 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
503 | N/A | Near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
504 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
505 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
506 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
507 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
508 | N/A | near Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes | Yes
509 | N/A | Near Myakka City | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
510 | N/A | Near Myakka City | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
511 | N/A | Near Myakka City | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2033-07-31 | 2023-01-06 | Solar | PV | Yes | Yes |  | Yes
512 | N/A | Near Myakka City | N/A | FPL | Yes | Manatee | 74.5 | 0 | 2029-06-30 | 2023-01-06 | Solar | PV | Yes | N/A |  | N/A | Yes
513 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
514 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
515 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
516 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
517 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
518 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2031-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
519 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2031-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
520 | N/A | Near Bermont | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2031-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
521 | N/A | Near LaBelle | N/A | FPL | Yes | Desoto | 74.5 | 0 | 2030-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
522 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
523 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
524 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
525 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2029-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
Queue No. | Gulf Queue No. | General location of Interconnection | Affiliate | FPL/Third Party | Requested Network Service | County in Florida | Megawatt Capacity Addition |  | In-Service Date1 | Date Project Established in | Type of Facility2 | Primary Fuel2 | Studies Completed |  |  |  | Status3
[7 empty] | Summer | Winter |  |  |  |  | FS | SIS | OPT | FAS | Withdrawn | In-Service | IA
526 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
527 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
528 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
529 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
530 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
531 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
532 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
533 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
534 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
535 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
536 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2031-07-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
537 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
538 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
539 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
540 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-01-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
541 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
542 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
543 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
544 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
545 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
546 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
547 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
548 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2032-10-31 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
549 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
550 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
551 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
552 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-04-30 | 2023-01-06 | Solar | PV | N/A | Yes |  | N/A
553 | N/A | Western Palm Beach County | N/A | FPL | Yes | Palm Beach | 74.5 | 0 | 2028-01-01 | 2023-01-06 | Solar | PV | N/A | N/A |  | N/A | Yes
554 | N/A | Tyndall AFB | N/A | FPL | Yes | Bradford | 50 | 0 | 2028-12-31 | 2023-02-01 | Solar | PV | Yes | Yes | N/A | N/A | Yes
555 | N/A | Deerhaven (GVL)-Bradford 138kV | N/A | Third Party | Yes | Bradford | 74.9 | 0 | 2031-01-17 | 2023-02-23 | Solar | PV | N/A | Yes |  | Yes | Yes
556 | N/A | Deerhaven (GVL)-Bradford 138kV | N/A | Third Party | Yes | Bradford | 74.9 | 0 | 2026-12-31 | 2023-02-23 | Solar | PV | N/A | Yes | N/A | N/A | Yes
557 | N/A | Baldwin-Starke 115kV | N/A | Third Party | Yes | Bradford | 74.9 | 0 | 2031-01-17 | 2023-02-23 | Solar | PV | N/A | Yes |  | Yes | Yes
558 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-10-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
559 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2033-10-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
560 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
561 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
562 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
563 | N/A | State Road 80 | N/A | FPL | Yes | Hendry | 74.5 | 0 | 2030-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
564 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2032-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
565 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2032-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
566 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2032-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
567 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2032-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
568 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2033-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
569 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2033-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
570 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2033-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
571 | N/A | State Road 80 | N/A | FPL | Yes | Collier | 74.5 | 0 | 2033-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
572 | N/A | Hercules-Bermont-Charlotte | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2028-12-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
573 | N/A | Hercules-Bermont-Charlotte | N/A | FPL | Yes | Charlotte | 74.5 | 0 | 2029-12-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
574 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
575 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
576 | N/A | SR70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
577 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2029-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
578 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2029-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
579 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2029-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
580 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2030-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
581 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2030-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
582 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2030-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
583 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
584 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
585 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
586 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
587 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2032-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
588 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2032-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
589 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2032-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
590 | N/A | State Road 70 | N/A | FPL | Yes | Okeechobee | 74.5 | 0 | 2032-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
591 | N/A | Bridge - Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
592 | N/A | Bridge - Indiantown | N/A | FPL | Yes | Martin | 74.5 | 0 | 2029-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
593 | N/A | Martin Plant | N/A | FPL | Yes | Martin | 74.5 | 0 | 2030-10-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
594 | N/A | Indian River County | N/A | FPL | Yes | Indian River | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
595 | N/A | St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2029-07-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
596 | N/A | St. Lucie County | N/A | FPL | Yes | St. Lucie | 74.5 | 0 | 2031-01-31 | 2023-07-25 | Solar | PV | N/A | Yes |  | N/A
597 | N/A | Duval - Yulee Area | N/A | FPL | Yes | Nassau | 74.5 | 0 | 2028-01-31 | 2023-07-25 | Solar | PV | N/A | N/A |  | N/A | Yes
598 | N/A | Raven - Sinai 161kV line in Gadsden County | Affiliate | Third Party | Yes | Gadsden | 74.5 | 0 | 2027-12-31 | 1/0/1900 | Solar | PV | N/A | N/A |  | N/A | Yes
599 | N/A | Holmes Creek - Defuniak Springs (PS) 115kV line | N/A | FPL | Yes | Jackson | 24.5 | 0 | 2028-07-31 | 2023-10-02 | Solar | PV | N/A | Yes |  | N/A
600 | N/A | Union County | N/A | Third Party | Yes | Union | 74.9 | 0 | 2027-12-31 | 2023-11-14 | Solar | PV | N/A | N/A |  | N/A | Yes
601 | N/A | Union County | N/A | Third Party | Yes | Union | 74.9 | 0 | 2027-12-31 | 2023-11-14 | Solar | PV | N/A | N/A |  | N/A | Yes
602 | N/A | Union County | N/A | Third Party | Yes | Union | 225 | 0 | 2027-12-31 | 2023-11-14 | Solar | PV | N/A | N/A |  | N/A | Yes
603 | N/A | Union County | N/A | Third Party | Yes | Union | 74.9 | 0 | 2027-12-31 | 2023-11-14 | Solar | PV | N/A | N/A |  | N/A | Yes
604 | N/A | Desoto County | N/A | FPL | Yes | Desoto | 74.9 | 0 | 2033-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
605 | N/A | Desoto County | N/A | FPL | Yes | Desoto | 74.9 | 0 | 2033-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
606 | N/A | Desoto County | N/A | FPL | Yes | Desoto | 74.9 | 0 | 2030-01-31 | 2023-12-15 | Solar | PV | N/A | N/A |  | N/A | Yes
607 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
608 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
609 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
610 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-04-30 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
611 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-10-31 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
612 | N/A | Charlotte County | N/A | FPL | Yes | Charlotte | 74.9 | 0 | 2031-10-31 | 2023-12-15 | Solar | PV | N/A | Yes |  | N/A
613 | N/A | Calhoun County | N/A | FPL | Yes | Calhoun | 300mw4hr | 300mw4hr | 2025-12-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
614 | N/A | Calhoun County | N/A | FPL | Yes | Calhoun | 200MW6hr | 200MW6hr | 2029-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
615 | N/A | Putnam Plant | N/A | FPL | Yes | Putnam | 100mw4hr | 200mw4hr | 2027-01-31 | 2024-01-08 | BESS | BESS | N/A | Yes |  | N/A
616 | N/A | Putnam Plant | N/A | FPL | Yes | Putnam | 100mw4hr | 100mw4hr | 2028-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
Queue No. | Gulf Queue No. | General location of Interconnection | Affiliate | FPL/Third Party | Requested Network Service | County in Florida | Megawatt Capacity Addition |  | In-Service Date1 | Date Project Established in | Type of Facility2 | Primary Fuel2 | Studies Completed |  |  |  | Status3
[7 empty] | Summer | Winter |  |  |  |  | FS | SIS | OPT | FAS | Withdrawn | In-Service | IA
617 | N/A | Columbia County | N/A | FPL | Yes | Columbia | 200MW4hr | 200MW4hr | 2028-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
618 | N/A | Madison | N/A | FPL | Yes | Madison | 150mw4hr | 150mw4hr | 2028-12-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
619 | N/A | Quincey | N/A | FPL | Yes | Gadsden | 150mw4hr | 150mw4hr | 2027-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
620 | N/A | Lansing Smith Plant - Bay County | N/A | FPL | Yes | Bay | 150mw4hr | 400mw4hr | 2026-01-31 | 2024-01-08 | BESS | BESS | N/A | Yes |  | N/A
621 | N/A | Lansing Smith Plant - Bay County | N/A | FPL | Yes | Bay | 200MW4hr | 200MW4hr | 2027-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
622 | N/A | Optimum Valencia Area | N/A | FPL | Yes | Desoto | 300mw4hr | 300mw4hr | 2030-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
623 | N/A | Okeechobee | N/A | FPL | Yes | Okeechobee | 400mw4hr | 400mw4hr | 2030-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
624 | N/A | Southeast Indian River County | N/A | FPL | Yes | Indian River | 300mw4hr | 300mw4hr | 2031-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
625 | N/A | Southeast Indian River County | N/A | FPL | Yes | Indian River | 100mw4hr | 100mw4hr | 2032-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
626 | N/A | Southeast Indian River County | N/A | FPL | Yes | Indian River | 400MW4hr | 400MW4hr | 2033-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
627 | N/A | Martin County | N/A | FPL | Yes | Martin | 400mw4hr | 400mw4hr | 2031-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
628 | N/A | Martin County | N/A | FPL | Yes | Martin | 400mw4hr | 400mw4hr | 2031-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
629 | N/A | Krome Solar | N/A | FPL | Yes | Miami-Dade | 300mw4hr | 300mw4hr | 2029-12-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
630 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 200MW4hr | 200MW4hr | 2032-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
631 | N/A | Near LaBelle | N/A | FPL | Yes | Hendry | 300mw4hr | 300mw4hr | 2033-01-31 | 2024-01-08 | BESS | BESS | N/A | N/A |  | N/A | Yes
1 The In-Service date shown is the Commercial Operation Date until the In-Service date is determined pursuant to the Tariff 2 Combined Cycle = CC; Combustion Turbine = CT; Steam Turbine = ST; Reciprocal Engine = R; Natural Gas = Gas; Waste = W, Coal = C, Nuclear = N Photovoltaic = PV; Biogas = B 3 Feasibility Study = FS; Facilities Study = FAS; System Impact Study = SIS; Optional Study = OPT; Interconnection Agreement = IA; Trial Operation = TO; Studies available upon request, contact Wilfredo Ruiz (305-529-6113 or wilfredo.ruiz@fpl.com) Revised 8/5/2025